

|  |
| --- |
|  |

**REQUEST FOR QUOTATION (RFQ)**

**(Goods)**

**Title: Supply and Installation of Security Camera**

|  |  |
| --- | --- |
| NAME & ADDRESS OF FIRM | DATE: September 1, 2020 |
| REFERENCE: RFQ/UNDP/RWA/2020/032 |

Dear Sir / Madam:

We kindly request you to submit your quotation for Supply and Installation of Integrated Access Control System, as detailed in Annex 1 of this RFQ. When preparing your quotation, please be guided by the form attached hereto as Annex 2.

Quotations may be submitted on or before September 11, 2020and via (choose appropriate box) *e-mail, courier mail or facsimile* to the address below:

**United Nations Development Programme**

**KN 67 Street No 4; P.O Box 445, Kigali**

Attn: Head of Procurement Unit,

By email address at offers.rw@undp.org

not later than 11 September 2020**,**

Time: 12h00 PM Kigali Rwanda local time.

SITE VISIT IS MANDATORY ON 8th September 2020 at 11:00 am. All visitors must comply with COVID 19 guidelines.

**Thank you and we look forward to receiving your quotation.**

**Sincerely yours,**

*Varsha Redkar-Palepu*

*Deputy Resident Representative* September 1, 2020

Quotations submitted by email must be limited to a maximum of *[indicate size]*MB, virus-free and no more than *[indicate number]*email transmissions. They must be free from any form of virus or corrupted contents, or the quotations shall be rejected.

It shall remain your responsibility to ensure that your quotation will reach the address above on or before the deadline. Quotations that are received by UNDP after the deadline indicated above, for whatever reason, shall not be considered for evaluation. If you are submitting your quotation by email, kindly ensure that they are signed and in the .pdf format, and free from any virus or corrupted files.

Please take note of the following requirements and conditions pertaining to the supply of the abovementioned good/s: *[check the condition that applies to this RFQ, delete the entire row if condition is not applicable to the goods being procured]*

|  |  |  |
| --- | --- | --- |
| Delivery Terms  [[INCOTERMS 2020](https://www.kn-portal.com/incoterms_2020/)]  *(Pls. link this to price schedule)* | FCA  CPT  CIP  DAP  Other *[pls. specify]* | |
| Customs clearance[[1]](#footnote-1), if needed, shall be done by: | UNDP  Supplier/Offeror  Freight Forwarder | |
| Exact Address/es of Delivery Location/s (identify all, if multiple) | **KN 67 Street No 4; P.O Box 445, Kigali** | |
| UNDP Preferred Freight Forwarder, if any[[2]](#footnote-2) | Click here to enter text. | |
| Distribution of shipping documents *(if using freight forwarder)* | Click here to enter text. | |
| Latest Expected Delivery Date and Time *(if delivery time exceeds this, quote may be rejected by UNDP)* | 30 days from the issuance of the Purchase Order (PO)  As per Delivery Schedule attached *[if delivery will be staggered]*  Time : *[pls. indicate]*  Time Zone of Reference : *[pls. indicate]* | |
| Delivery Schedule | Required  Not Required | |
| Packing Requirements |  | |
| Mode of Transport | AIR | LAND |
| SEA | OTHER *[pls. specify]* |
| Preferred  Currency of Quotation[[3]](#footnote-3) | United States Dollars  Euro  Local Currency : RWF | |
| Value Added Tax on Price Quotation[[4]](#footnote-4) | Must be inclusive of VAT and other applicable indirect taxes  Must be exclusive of VAT and other applicable indirect taxes | |
| After-sales services required | Warranty on Parts and Labor for minimum period of Click to type  Technical Support  Provision of Service Unit when pulled out for maintenance/ repair  Others *[pls. specify]* | |
| Deadline for the Submission of Quotation | COB, *Friday, September 11, 2020 and 12 pm Rwandan Time* | |
| All documentations, including catalogs, instructions and operating manuals, shall be in this language | English  French  Spanish  Others *[pls. specify, including dialects, if needed]* | |
| Documents to be submitted[[5]](#footnote-5) | Duly Accomplished Form as provided in Annex 2, and in accordance with the list of requirements in Annex 1;  A statement whether any import or export licenses are required in respect of the goods to be purchased including any restrictions on the country of origin, use/dual use nature of goods or services, including and disposition to end users;  Confirmation that licenses of this nature have been obtained in the past and an expectation of obtaining all the necessary licenses should the quotation be selected;  Quality Certificates (ISO, etc.);  Latest Business Registration Certificate ;  Latest Internal Revenue Certificate / Tax Clearance;  Manufacturer’s Authorization of the Company as a Sales Agent (if Supplier is not the manufacturer);  Certificate of Exclusive Distributorship in the country (if applicable, and if Supplier is not the manufacturer);  Evidence/Certification of Environmental Sustainability (“Green” Standards) of the Company or the Product being supplied ;  Complete documentation, information and declaration of any goods classified or may be classified as “Dangerous Goods”.  Patent Registration Certificates (if any of technologies submitted in the quotation is patented by the Supplier);  Written Self-Declaration of not being included in the UN Security Council 1267/1989 list, UN Procurement Division List or other UN Ineligibility List;  **Others 3 certificates of similar works completed; implementation plan, software licenses, technical expertise in the area** | |
| Period of Validity of Quotes starting the Submission Date | 60 days  90 days  120 days  In exceptional circumstances, UNDP may request the Vendor to extend the validity of the Quotation beyond what has been initially indicated in this RFQ. The Proposal shall then confirm the extension in writing, without any modification whatsoever on the Quotation. | |
| Partial Quotes | Not permitted  Permitted [*pls. provide conditions for partial quotes, and ensure that requirements are properly listed to allow partial quotes (e.g., in lots, etc.)]* | |
| Payment Terms[[6]](#footnote-6) | 100% upon complete delivery of goods  Others *[pls. specify]* | |
| Liquidated Damages | Will not be imposed  Will be imposed under the following conditions :  Percentage of contract price per day of delay : \_\_\_\_\_\_  Max. no. of days of delay : 60  After which UNDP may terminate the contract. | |
| Evaluation Criteria  *[check as many as applicable]* | Technical responsiveness/Full compliance to requirements and lowest price[[7]](#footnote-7)  Comprehensiveness of after-sales services  Full acceptance of the PO/Contract General Terms and Conditions *[this is a mandatory criteria and cannot be deleted regardless of the nature of services required]*  Earliest Delivery / Shortest Lead Time[[8]](#footnote-8)  Others *[pls. specify]* | |
| UNDP will award to: | One and only one supplier  One or more Supplier, depending on the following factors: *[Clarify fully how and why will this be achieved. Please do not choose this option without indicating the parameters for awarding to multiple Suppliers]* | |
| Type of Contract to be Signed | Purchase Order  Contract Face Sheet (Goods and-or Services) UNDP (this template is also utilised for Long-Term Agreement[[9]](#footnote-9) and *if LTA will be signed, specify the document that will trigger the call-off. E.g., PO, etc.)*  Other Type/s of Contract *[pls. specify]* | |
| Contract General Terms and Conditions | General Terms and Conditions for contracts (goods and/or services)  General Terms and Conditions for de minimis contracts (services only, less than $50,000)  Applicable Terms and Conditions are available at  <http://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html> | |
| Special conditions of Contract | Cancellation of PO/Contract if the delivery/completion is delayed by 60 days  Others *[pls. specify]* | |
| Conditions for Release of Payment | Passing Inspection *[specify method, if possible]*  Complete Installation  Passing all Testing *[specify standard, if possible]*  Completion of Training on Operation and Maintenance *[specify no. of trainees, and location of training, if possible*  Written Acceptance of Goods based on full compliance with RFQ requirements  Others *[pls. specify]* | |
| Annexes to this RFQ[[10]](#footnote-10) | Specifications of the Goods Required (Annex 1)  Form for Submission of Quotation (Annex 2)  [General Terms and Conditions / Special Conditions](https://popp.undp.org/_Layouts/15/POPPOpenDoc.aspx?ID=POPP-11-2493)  Others *[pls. specify, if any]*  Non-acceptance of the terms of the General Terms and Conditions (GTC) shall be grounds for disqualification from this procurement process. | |
| Contact Person for Inquiries  (Written inquiries only)[[11]](#footnote-11) | ***Fidele Habimana***  *ICT Manager*  *United Nations Development Programme*  *KN 67 Street No 4; P.O Box 445, Kigali*  [*fidele.habimana@undp.org*](mailto:fidele.habimana@undp.org)  *Tel: +250 788122 415*  *Cell: +250 788510525*  Any delay in UNDP’s response shall be not used as a reason for extending the deadline for submission, unless UNDP determines that such an extension is necessary and communicates a new deadline to the Proposers. | |

Goods offered shall be reviewed based on completeness and compliance of the quotation with the minimum specifications described above and any other annexes providing details of UNDP requirements.

The quotation that complies with all of the specifications, requirements and offers the lowest price, as well as all other evaluation criteria indicated, shall be selected. Any offer that does not meet the requirements shall be rejected.

Any discrepancy between the unit price and the total price (obtained by multiplying the unit price and quantity) shall be re-computed by UNDP. The unit price shall prevail and the total price shall be corrected. If the supplier does not accept the final price based on UNDP’s re-computation and correction of errors, its quotation will be rejected.

After UNDP has identified the lowest price offer, UNDP reserves the right to award the contract based only on the prices of the goods in the event that the transportation cost (freight and insurance) is found to be higher than UNDP’s own estimated cost if sourced from its own freight forwarder and insurance provider.

At any time during the validity of the quotation, no price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors shall be accepted by UNDP after it has received the quotation. At the time of award of Contract or Purchase Order, UNDP reserves the right to vary (increase or decrease) the quantity of services and/or goods, by up to a maximum twenty-five per cent (25%) of the total offer, without any change in the unit price or other terms and conditions.

Any Purchase Order that will be issued as a result of this RFQ shall be subject to the General Terms and Conditions attached hereto. The mere act of submission of a quotation implies that the vendor accepts without question the General Terms and Conditions of UNDP indicated above - <http://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html>.

UNDP is not bound to accept any quotation, nor award a contract/Purchase Order, nor be responsible for any costs associated with a Supplier’s preparation and submission of a quotation, regardless of the outcome or the manner of conducting the selection process.

Please be advised that UNDP’s vendor protest procedure is intended to afford an opportunity to appeal for persons or firms not awarded a purchase order or contract in a competitive procurement process. **In the event that** you believe you have not been fairly treated, you can find detailed information about vendor protest procedures in the following link:

https://www.undp.org/content/undp/en/home/procurement/business/protest-and-sanctions.html

**UNDP encourages every prospective Vendor to** avoid and prevent conflicts of interest, by disclosing to UNDP if you, or any of your affiliates or personnel, were involved in the preparation of the requirements, design, specifications, cost estimates, and other information used in this RFQ.

UNDP implements a zero tolerance on fraud and other proscribed practices, and is committed to identifying and addressing all such acts and practices against UNDP, as well as third parties involved in UNDP activities. UNDP expects its suppliers to adhere to the UN Supplier Code of Conduct found in this link: <https://www.un.org/Depts/ptd/about-us/un-supplier-code-conduct>

**Thank you and we look forward to receiving your quotation.**

**Sincerely yours,**

*Varsha Redkar-Palepu*

*Deputy Resident Representative* September 1, 2020

**Annex 1**

**Technical Specifications**

**Specifications for security Camera**

**Introduction**

UNDP Rwanda is looking for a potential supplier of security equipment with background in ICT to supply and install security camera.

The cameras should be compatible with our existing Panasonic CCTV Equipment (Panasonic WJ-NV300 32-Channel Network Video Recorder) the supplier shall do all necessary installations and configuration, including civil works. Site visit is scheduled on 8th September 2020 at 11:00 am at UNDP Kigali Rwanda.

**SECURITY EQUIPMENTS TO BE SUPPLIED AND INSTALLED**

**2.1. Panasonic IP Cameras (WV-S1511LN)**

**Quantity Required: 6**

|  |  |  |
| --- | --- | --- |
| **Indoor / Outdoor** | | Outdoor |
| **Image sensor** | | 1/3 MOS |
| **Min. Illumination Color (lx)** | | 0.008 |
| **Min. Illumination B/W (lx)** | | 0.004 / 0 (w/IR-LED) |
| **Maximum Resolution** | | HD (720p / 1,280x 960) |
| **Maximum FPS** | | 60 |
| **Super Dynamic** | | Yes |
| **Image compensation** | | Adaptive Black Stretch, Back light compensation (BLC), Fog compensation, High light compensation (HLC), Digital noise reduction |
| **Color/BW** | | ICR |
| **ABF(Auto back focus)/Auto Focus/Focus Assist** | | ABF (Auto back focus) |
| **IR LED** | | Yes |
| **Image Stabilizer** | | Yes |
| **Corridor Mode** | | Yes |
| **Privacy Zone** | | 8 |
| **iA (Intelligent Auto)** | | Yes |
| **Intelligent VMD (i-VMD)** | | Type4 |
| **Focal length** | | f=2.8-10mm, {1/8 - 13/32 inches}, F1.6 |
| **Zoom ratio** | | 3.6x |
| **Angular field of view (16:9)** | | H: 31-112 deg. V: 17-60 deg. |
| **Angular field of view (4:3)** | | H: 26-91 deg. V: 19-67 deg. |
| **Panning Range** | | -180 - +180 deg. |
| **Tilting Range** | | 0 - +100 deg. |
| **Network IF** | | 10Base-T, 100Base-TX, RJ45 connector |
| **Video Codec** | | H.265, H.264, JPEG |
| **Transmission mode (H.265/H.264)** | | Constant bit rate, Variable bit rate, Frame rate, Best effort |
| **Smart Coding** | | Yes |
| **Audio Support** | | Yes |
| **Built-in microphone** | | - |
| **Microphone/Line Input** | | Yes |
| **Audio Output** | | Yes |
| **SD memory Card Slot** | | SDXC |
| **External I/O Terminals** | | Yes |
| **Ambient Operating Humidity** | | 10-100 |
| **Vandal Resistant** | | IK10 (IEC62262) |
| **Water and Dust Resistance** | | IP66 (IEC60529), Type 4X(UL50), NEMA 4X |
| **ClearSight Coating / Rain Wash Coating** | | ClearSight Coating |
| **Dehumidification device** | | Yes |
| **Temperature (degree, Celsius)** | **MAX** | 60 / 50 (w/IR-LED) |
| **MIN** | -40 |
| **Temperature (degree, Fahrenheit)** | **MAX** | 140 / 122 (w/IR-LED) |
| **MIN** | -40 |
| **Power Source** | | PoE, 12V DC |
| **SSL device certificate** | | Yes |
| **ONVIF Profile** | | S, G, T |

**NB:** **The cameras should be compatible with our existing Panasonic CCTV Equipment (**Panasonic WJ-NV300 32-Channel Network Video Recorder) the supplier shall do all necessary installations and configuration, including civil works. Site visit is scheduled on 8th September 2020 at 11:00 am at UNDP Kigali Rwanda.

**Annex 2**

**FORM FOR SUBMITTING SUPPLIER’S QUOTATION[[12]](#footnote-12)**

***(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery[[13]](#footnote-13))***

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. \_\_\_\_\_\_\_:

**TABLE 1 : Offer to Supply Goods Compliant with Technical Specifications and Requirements**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No.** | **Description/Specification of Goods** | **Quantity** | **Latest Delivery Date** | **Unit Price** | **Total Price per Item** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  | **Total Prices of Goods[[14]](#footnote-14)** | | | |  |
|  | Add : Cost of Transportation | | | |  |
|  | Add : Cost of Insurance | | | |  |
|  | Add : Other Charges (pls. specify) | | | |  |
|  | **Total Final and All-Inclusive Price Quotation** | | | |  |

**TABLE 2 : Estimated Operating Costs (if applicable)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **List of Consumable Item/s** *(Include fast moving parts, if any)* | **Estimated Average Consumption** | **Unit of Measure** | **Unit Price** | **Total Price per Item** |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**TABLE 3 : Offer to Comply with Other Conditions and Related Requirements**

|  |  |  |  |
| --- | --- | --- | --- |
| **Other Information pertaining to our Quotation are as follows :** | **Your Responses** | | |
| ***Yes, we will comply*** | ***No, we cannot comply*** | ***If you cannot comply, pls. indicate counter proposal*** |
| Delivery Lead Time |  |  |  |
| Estimated weight/volume/dimension of the Consignment: |  |  |  |
| Country/ies Of Origin[[15]](#footnote-15): |  |  |  |
| Warranty and After-Sales Requirements |  |  |  |
| 1. Training on Operations and Maintenance |  |  |  |
| 1. Minimum one (1) year warranty on both parts and labor |  |  |  |
| 1. Service Unit to be Provided when the Purchased Unit is Under Repair |  |  |  |
| 1. Brand new replacement if Purchased Unit is beyond repair |  |  |  |
| 1. Others |  |  |  |
| Validity of Quotation |  |  |  |
| All Provisions of the UNDP General Terms and Conditions |  |  |  |
| Other requirements *[pls. specify]* |  |  |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

*[Name and Signature of the Supplier’s Authorized Person]*

*[Designation]*

*[Date]*

1. *Must be linked to* [*INCO Terms 2020*](https://www.kn-portal.com/incoterms_2020/) *chosen.* [↑](#footnote-ref-1)
2. *Depends on* [*INCO Terms 2020*](https://www.kn-portal.com/incoterms_2020/)*. The suggestion to use a UNDP preferred courier is only for purposes of familiarity with procedures and documentary requirements applicable to the UNDP when clearing with customs.*  [↑](#footnote-ref-2)
3. *Local vendors must comply with any applicable laws regarding doing business in other currencies. Conversion of currency into the UNDP preferred currency, if the offer is quoted differently from what is required, shall be based only on UN Operational Exchange Rate prevailing at the time of UNDP’s issuance of Purchase Order.* [↑](#footnote-ref-3)
4. *This must be reconciled with the* [*INCO Terms 2020*](https://www.kn-portal.com/incoterms_2020/) *required by the RFQ. Furthermore, VAT exemption status varies from one country to another. Pls. tick whatever is applicable to the UNDP CO/BU requiring the goods.* [↑](#footnote-ref-4)
5. *First 2 items in this list are mandatory for the supply of imported goods*  [↑](#footnote-ref-5)
6. *UNDP preference is not to pay advanced amount upon signing of contract. If vendor strictly requires advanced payment, it will be limited only up to 20% of the total price quoted. For any higher percentage, or advanced payment of $30,000 or higher, UNDP shall require the vendor to submit a bank guarantee or bank checque payable to UNDP, in the same amount as the advanced payment made by UNDP to the vendor.* [↑](#footnote-ref-6)
7. *UNDP reserves the right not to award the contract to the lowest priced offer, if the second lowest price among the responsive offer is found to be significantly more superior, and the price is higher than the lowest priced compliant offer by not more than 10%, and the budget can sufficiently cover the price difference. The term “more superior” as used in this provision shall refer to offers that have exceeded the pre-determined requirements established in the specifications.* [↑](#footnote-ref-7)
8. *This shall be used for time-critical and/or exigent requirements (e.g., post-crisis emergencies, elections, etc.).* [↑](#footnote-ref-8)
9. *Minimum of one (1) year period and may be extended up to a maximum of three (3) years subject to satisfactory performance evaluation* [↑](#footnote-ref-9)
10. *Where the information is available in the web, a URL for the information may simply be provided.* [↑](#footnote-ref-10)
11. *This contact person and address is officially designated by UNDP. If inquiries are sent to other person/s or address/es, even if they are UNDP staff, UNDP shall have no obligation to respond nor can UNDP confirm that the query was received.* [↑](#footnote-ref-11)
12. *This serves as a guide to the Supplier in preparing the quotation and price schedule.*  [↑](#footnote-ref-12)
13. *Official Letterhead/Stationery must indicate contact details – addresses, email, phone and fax numbers – for verification purposes*  [↑](#footnote-ref-13)
14. *Pricing of goods should be consistent with the* [*INCO Terms 2020*](https://www.kn-portal.com/incoterms_2020/) *indicated in the RFQ* [↑](#footnote-ref-14)
15. *If the country of origin requires Export License for the goods being procured, or other relevant documents that the country of destination may require, the supplier must submit them to UNDP if awarded the PO/contract.* [↑](#footnote-ref-15)