## Landscaping
Landscaping |  |  |  |  | DoN Ltd
Plans In Details
Trees | Unit | Qty | Cost/Unit | Total
Palm Trees (Imikindo) | Pc | 12
Candlenut | Pc | 1
Grevillea robusta | Pc | 2
Leucaena Leucocephala | Pc | 1
Flowers (30 Flowers/ 8 sqm |  | Units / 8 sqm
Mexican Petunia (IMININI) | Pc | 1
Golden Dewdrops | Pc | 1
Flamingo Flower | Pc | 2
Yellow Butterfly | Pc | 2
Cat Palm | Pc | 4
Arrowhead Plant | Pc | 2
Scarlet Star | Pc | 2
Song of India | Pc | 2
Philodendron | Pc | 2
Variegated Snake Plant | Pc | 2
Zanzibar Gem | Pc | 2
Peace Lily | Pc | 2
Swiss cheese Plant | Pc | 2
Madascar Periwinkles | Pc | 2
Birds of Paradise | Pc | 2
Garden flowers | Pc | 483.73
Flowers on units | Pc | 30
BLAC SOIL | camion | 30
Laterite | Hoho | 5
Fertilisers | Fuso | 10
PERUS (CARPET) | SQM | 50
Bricks made pots with finish | m2 | 347
Pots waterproofing | m3 | 347
Palm Trees (Imikindo) | Pc | 12
Candlenut | Pc | 1
Grevillea robusta | Pc | 2
Leucaena Leucocephala | Pc | 1
Balconies Plants | Pc
Pavement in Pavers | m2 | 498
Notes: these qties are indicative for bidding purpose the successful bidder will generate the real quantiies from the drawings

## SWIMMINGPOOL
SWIMMING POOL
Option 1-Using small Pump
Swimming pool finishing works
# | Item description | Unit | Quantity
1 | plant room plus its accessories (Italian pump of 0.75kw) plus all plumbing items required | ls | 1
2 | plant room equipment (pool sand filter, eurosimm pump 0.75kw, sand, electric pool controller) | ls | 1
3 | accessories (wall mounted Rgb light with remote control, deck box, vacuum point, skimmer, main drain, transformer) | ls | 1
4 | sika membrane for waterproofing | sqm | 65
5 | plastering for membrane reinforcement by using masterseal binder | sqm | 65
6 | swimming pool tiles construction | sqm | 65
7 | creating a swimming pool drainage and soap kit | ls | 1
8 | top area landscaping made in tiles and fix all safety guard rail require for pool (on wall edges) | ls | 1
9 | supply swimming pool chairs made in Mvura | pcs | 4
Option 2: Using Big Pumps
1 | plant room plus its accessories (Italian pump of 1.5 hp) plus all plumbing items required) | ls | 1
2 | sika membrane for waterproofing | sqm | 65
3 | plastering for membrane reinforcement by using masterseal binder | sqm | 65
4 | swimming pool tiles construction | sqm | 65
5 | creating a swimming pool drainage and soap kit | ls | 1
6 | top area landscaping made in tiles and fix all safety guard rail require for pool | ls | 1
7 | supply swimming pool chairs made in muvura | pcs | 4

## House
LOT1-FINISHING WORKS FOR KIYOVU APARTMENTS - KIGALI -RWANDA
Nbr | ITEM |  | UNIT | QTY | UP | TP
Description
1.0: FINISHES
Internal wall finishes
A | Supply and apply white silkvynl paint | Wall preparation with sticco and painting | SM | 3728.244
B | External wall finishes
B1 | Supply and apply white -weatherguard paint | Wall preparation with granile and painting | SM | 1203.95
B2 | Supply and apply Grey -weatherguard paint | Wall preparation with granile and painting | SM | 812.15
| Supply and apply woodlike paints as per architecture |  | SM | 295
Total FINISHES
Floor Finishes
Supply and wooden like floor tiles supplied of approved type and as described by the architect
C | Wooden like tiles 10mm thick 20x120xm matte |  | SM | 2112.796
Supply and fix porcelain bathroom floor tiles supplied of approved type and as described by the architect
D | 8mm thick Porcelain tiles 30x30cm matte |  | SM | 186.3
Supply and fix porcelain bathroom wall tiles supplied of approved type and as described by the architect
E | 8mm thick Porcelain tiles 60x30cm glossy |  | SM | 832.03
Supply and fix porcelain tiles on lobby floor supplied of approved type and as described by the architect
F | 10mm thick Porcelain tiles 60x60Cm matte |  | SM | 151.1475
Supply and fix porcelain tiles in lift floor supplied of approved type and as described by the architect
G | 8mm thick Porcelain tiles 60x30Cm Glossy |  | SM | 7.56
Supply and fix porcelain tiles in staircase floor supplied of approved type and as described by the architect
H | 10mm thick Porcelain tiles 120x30Cm matte |  | SM | 62.7446
Supply and fix porcelain tiles in Outdoor pathway floor supplied of approved type and as described by the architect
I | 12mm thick Porcelain tiles 60x60Cm rough |  |  | 147.483
Supply and fix porcelain tiles in service stairs floor supplied of approved type and as described by the architect
J | 10mm thick Porcelain tiles 120Cm rough |  | SM | 32.72
Supply and fix porcelain tiles in B1 service House ,Guard house, Public Toilet, Control rooms & reception floors supplied of approved type and as described by the architect
K | 10mm thick Porcelain tiles 60x60Cm matte |  | SM | 261.39
Supply and fix granite tiles in Parking supplied of approved type and as described by the architect
L | 12mm thick Granite tiles 60x60Cm rough |  | SM | 523.567
Claddings tiles columns,Gym, terraces and swimming pool interior supplied of approved type and as described by the architect
M | 10mm thick Porcelain tiles 60x60Cm mate |  | SM | 448.19
TOTAL TILES
| Cladding with Urugarika on the Fence |  | SM | 52
| tiling &cladding Labor and binder |  |  | 4817.9281
Gypsum Ceiling
K | Supply and fix complete white painted gypsum Ceiling as per drawings and architect requirements | ceiling setting with metallic frame, gypsum and the finishing works | S.M. | 3052.99
Breakdown
| gypsum pannels - 9mm |  |  | 3052.99
| ceiling setting with metallic frame |  |  | 3052.99
| the finishing works |  |  | 3052.99
N | Elevator
| Supply and install a Glass Elevator- Artisan Elevator with all accessories. it should be an acrylic or true glass panels. Meeting ASME safety codes |  | LS | 1
|  |  | pces | 1
balustrades in aluminium with glazing as per Architect detail
G | 1000mm high balustrades in aluminium with glazing as per Architect detail |  | L.M. | 188.6
KITCHEN
H | 640x60x240 cm Cabinets |  | PC | 6
I | 260x60x90 cm kitchen bar |  | PC | 12
J | chair |  | PC | 40
K | Double fridge |  | PC | 1
| Single frigde |  | pces | 12
L | stove |  | PC | 17
M | cooker |  | PC | 13
N | microwave |  | PC | 13
0 | extractor |  | PC | 13
P | sink x1 - 90x60x90cm |  | PC | 12
Q | 520x60x240 cm Cabinets |  | PC | 6
R | 375x60x240 cm Cabinets |  | PC | 1
S | 250x60x90 cm Kitchen bar |  | PC | 1
T | Dining Tables |  | Set | 6
U
V | Chairs /kitchen shared space |  | PC | 36
| Total Kitchen materials |  |  | 189
STORE CABINETS
1 | wood like MDF - 500x60x210cm |  | PC | 6
2 | wood like MDF - 145x60x210cm |  | PC | 6
3 | wood like MDF -540x60x210 |  | PC | 1
| Tatal store cabinets |  |  | 13
LAUNDRY
1 | Washing machine, grey 60x60cm |  | PC | 13
2 | Cabinet - waterproof MDF - white 320x60x90cm |  | PC | 6
3 | Cabinet - waterproof MDF - white 370x60x90cm |  | PC | 6
4 | Cabinet - waterproof MDF - white 360x60x90cm |  | PC | 1
Total Laundry
BED
1 | King size - 180x200cm - ledge wooden bed - LED Lighting |  | PC | 21
2 | Super King size - 200x200cm - ledge wooden bed - LED lighting |  | PC | 13
| Total Bed |  |  | 34
Wardrobe
1 | Wooden -pattern - LED Lighting 250x60x240cm |  | PC | 23
2 | Wooden -pattern - LED lighting - 295x60x240cm |  | PC | 12
| Total Wardrobe |  |  | 35
Master chairs
1 | Arm chair - wooden legs - fabric cushion |  | PC | 24
2 | SOFAS |  | PC | 7
3 | Office / reception Chairs |  | PC | 10
TABLES
1 | Coffe table - 60x120x40cm |  | PC | 14
2 | Master table - top fabric - wooden legs |  | PC | 13
3 | Balcony table - powder-coated steel - round table -50x50cm |  | PC | 48
4 | Office table |  | PC | 7
5 | Reception table |  | PC | 1
LIVING ROOM SOFA
1 | Set + Matt - 360x260cm/ Light Coulor |  | PC | 8
2 | Set+matt - 450x260cm/ Light coulor |  | PC | 6
| Reception SOFA /Dark Coulor |  | PC | 2
TV STAND
1 | set-250cm wide |  | PC | 14
2 | Stand Size 3.38*2.4 |  | PC | 2
| Total Chairs, sofas, tables TV stands |  |  | 156
GYM
1 | MACHINES |  | PC | 4
2 | CABINETS |  | PC | 2
| Total Gym |  | pces | 6
BAR
1 | Stools |  | PC | 4
LOBBY
1 | SOFAS |  | PC | 2
2 | Tables |  | PC | 1
| Total bar and Loby |  |  | 7
PERGOLA
1 | Muvula planks +Steel structure |  | m2 | 0
ELEVATOR
1 | Floor in Aluminium |  | m2 | 3.3
2 | Glazed Walling |  | m2 | 32.4
3 | Glazed ceiling |  | m2 | 3.286
3.0 WINDOWS & DOORS
3.1 | Aluminium
3.1.1 | Door 90x225 |  | Pc | 7
3.1.2 | Window-Door 360x270 |  | Pc | 48
3.1.3 | Window-Door 350x270 |  | Pc | 2
3.1.4 | Window-Door 240x270 |  | Pc | 1
3.1.5 | Window-Door 180x270 |  | Pc | 6
3.1.6 | Window-Door 150x270 |  | Pc | 1
3.1.7 | Window+ Protection 240x270 |  | Pc | 1
3.1.8 | Window 350x150 |  | Pc | 1
3.1.9 | Window 60x150 |  | Pc | 43
3.1.10 | Window 120x150 |  | Pc | 1
3.1.11 | Skylight Window 235x375 |  | Pc | 1
| TOTAL SQM | 1,5 frame,6mm glas laminated |  | 745
3.2 | Wooden Doors
3.2.1 | Door 90x225 |  | Pc | 102
3.2.2 | Door 150x225 |  | Pc | 13
3.2.3 | Door 75x225 |  | Pc | 8
3.2.4 | Door 120x225 |  | Pc | 1
| Total wooden doors |  |  | 124
3.2.5 | FR Door 90x225 |  | Pc | 5
SUPPLY AND INSTALLATION OF COMPLETE STEEL ROOF STRUCTURE WITH ALL ACCESSORIES & OTHER STEEL WORKS
4 | Roof Structure 1
4.1 | Web members | 40*40 | Lm | 51.64
4.2 | Rafters | 75*75 | Lm | 85.44
4.3 | Purlins | 40*40 | Lm | 173.25
4.4 | Iron sheet |  | Sqm | 122.141
4.5 | Faschia board as per architectural details |  | Lm | 32.095
4.6 | Roof Structure 2
4.7 | Web members | 40*40 | Lm | 5.4
4.8 | Rafters | 75*75 | Lm | 33.356
4.9 | Purlins | 40*40 | Lm | 102.221
5 | Iron sheet |  | Sqm | 57.68
5.1 | Faschia board as per architectural details |  | Lm | 22.503
5.2
5.3 | Roof structure near the swimming pool & Front Entrance
5.4 | Web members | 40*40 | Lm | 12
5.5 | Rafters | 75*75 | Lm | 27.2
5.6 | Purlins | 40*40 | Lm | 16
5.7 | Iron sheet |  | Sqm | 7
5.8 | Faschia board as per architectural details |  | Lm | 3.5
| Production, supply and Installation of Roof Cover with Hippo Zip Corrugated 26G, As per shared drawings |  | spm | 186.821
Total roof
5.9 | Handrails |  |  | 128
6 | Supply and install steel railings pattern Panel as per architectural details |  | Sqm | 38.13
Total Handrails
7 | Louvers
7.1 | Supply and install complete set of louvers made of AL FB (0.635× 2.54) cm RIBS TYPICAL, 6061-T6as per architectural details,EXTRUDED METALLIC LOUVERS TYP.6063-T6,1/2"Ø HOLES FOR PANEL TO POST FASTENERS and AL L(7.62×7.62×0.635) cm PANEL FRAME TYP.FOUR SIDES 6061-T6 |  | m2 | 80
8 | Fence
8.1 | Construction of RC columns with footings in the existing fence as per architectural details |  | m3 | 6.0475
8.2 | Supply and installation of Fence metallic openings as per architectural details ( Including all related civil works for creating opening in the existing fence) |  | m2 | 15.4
8.3 | Cladding with Lava stones as per architectural details |  | m2 | 52
Tatal Fence
9 | Gate
9.1 | Supply and installation of complete metallic gate including guiding posts as per architectural details ( All civil works included) |  | m2 | 19.8
Total Gate and Fence (without Civil works)
Total Gate and Fence (only Civil works & claddings)

## Electricals
Nbr | ITEM | Description | UNIT | QTY | UNIT RATE | TOTAL RATE
Electrical(supply only)
8. LIGHTINGS
1 | Ceiling recessed Glass LED Spotlight, Outer material: Alumium, Centre material: glass Diffuser, IP:20, Power consumption: 5W, Input voltage: 110-240V AC, Luminous flux: 480lm; Color temperature: 3000K, Working temperature: -20℃~+70℃(in Bed rooms) | Changing color at least white and worm light 5w | PC | 330 |  | 0
2 | Ceiling recessed Glass LED Spotlight, Outer material: Alumium, Centre material: glass Diffuser, IP:20, Power consumption: 7W, Input voltage: 110-240V AC, Luminous flux: 480lm; Color temperature: 3000K, Working temperature: -20℃~+70℃(in Living rooms and else where) | Changing color at least white and worm light 7w | PC | 460 |  | 0
3 | Center ceiling mounted lights in bedrooms | 12-15w,230V(better light with fun) | PC | 35 |  | 0
4 | Center ceiling mounted lights in living rooms | 18-24w,230V(better light with fun) | PC | 15 |  | 0
5 | 18w Center ceiling mounted lights in kitchen rooms | 18-24w,230V(better light with fun) | PC | 15 |  | 0
9 | Center ceiling mounted suspended lights in terraces | 15-18W,230V | PC | 57 |  | 0
10 | Center ceiling mounted lights in Bathrooms | 12-15w,230V | PC | 40 |  | 0
12 | Center ceiling mounted lights in corridors | 12-15w,230V | PC | 10 |  | 0
13 | Center ceiling mounted lights in Entance office | 18-24w,230V (better light with fun) | PC | 1 |  | 0
15 | Center ceiling mounted lights in entrance lounge | 18-24w,230V(better light with fun) | PC | 3 |  | 0
16 | Center ceiling mounted lights in internal parking | 24-30w,230V | PC | 12 |  | 0
| Center ceiling mounted lights in open Bar and Kitchen | 15-18w,230V | PC | 2 |  | 0
| Center ceiling mounted lights in open area in flont of Bar and Kitchen | 15-18w,230V | PC | 9 |  | 0
17 | Wall mounted decollating lights(open area at Bar,Kitchen and Swimming pool) | 15-18w,waterproofing lights,230V | PC | 25 |  | 0
18 | Garden lights | 12-18w,230V | PC | 165 |  | 0
19 | Ceiling mounted lights (Gate keeper house & annexes and power house) | 18w,230V | PC | 8 |  | 0
20 | LED Strip lights | 3w/m,230V with worm and white lights | m | 2050 |  | 0
21 | Ceiling mounted Stair lights | 7-15w,230V | PC | 35 |  | 0
22 | Swimming pool lights | 24-26w,waterproofing lights,230V | PC | 6 |  | 0
23 | IP 65 18W wallmount emergency light maintained 3hr 8w light fitting with all switch gear as lightek or approved equivalent | 18w,230V | PC | 28 |  | 0
24 | IP 65 18W Ceiling emergency light maintained 3hr 8w light fitting with all switch gear as lightek or approved equivalent | 18w,230V | PC | 32 |  | 0
25 | Exit light swing type Led 7w with Arrow down ,running man to stairs | 7W,230V | PC | 25 |  | 0
26 | Mirror light, material: body: aluminium, diffuser: PC, light source: linear LED tube T8, ingress of protection: IP55, Color: day light, power: 9W, Luminous flux: 900lm | 9W,230V | PC | 40 |  | 0
27 | Electrical Bells | with small sound, at least 5db | PC | 15 |  | 0
Total lights and bells |  |  |  | 1368 |  | 0
II.SWITCHES
1 | 1 gang 2 ways switch | 13A,230V | PC | 85 |  | 0
2 | 2 gangs 2 ways switch | 13A,230V | PC | 128 |  | 0
3 | 3 gangs 2 ways switch | 13A,230V | PC | 144 |  | 0
4 | 4 gangs 2 ways switch | 13A,230V | PC | 39 |  | 0
5 | Intermediate switches | 13A,230V | PC | 40 |  | 0
6 | 2ways Sensor switches,veto | 13A,230V | PC | 32 |  | 0
7 | Intermediate sensor switches,veto | 13A,230V | PC | 9 |  | 0
8 | DP Switches | 32A,230V | PC | 15 |  | 0
9 | DP Switches with power sockets for water heaters | 25A,230V | PC | 41 |  | 0
10 | Electrical Bell switches | 10A,230V | PC | 15 |  | 0
11 | 1gang 2 way smart switches | 10A,230V | PC | 15 |  | 0
Total switches |  |  |  | 563 |  | 0
III.POWER SOCKET OUTLETS
1 | Double power Socket outlet 16A with Earth pin Standard Universal, Flash mounted on wall fixed on MK box | 16A,230V | PC | 320 |  | 0
2 | Single power Socket outlet 16A with Earth pin Standard Universal, Flash mounted on wall fixed on MK box | 16A,230V | PC | 385 |  | 0
3 | Cooker power Socket outlet 32A with Earth pin Standard Universal, Flash mounted on wall fixed on MK box | 32A,230V | PC | 15 |  | 0
4 | Water heater Single power Socket outlet 16A with Earth pin Standard Universal, Flash mounted on wall fixed on MK box | 32A,230V,better with DP switch | PC | 40 |  | 0
Total power sockets outlet |  |  |  | 760 |  | 0
IV.1 PROTECTION SYSTEM
1 | Circuit breakers | MCB(1P-10A),Hager/legrand | pcs | 198 |  | 0
2 | Circuit breakers | MCB(1P-16A)Hager/legrand | pcs | 226 |  | 0
3 | Circuit breakers | MCB(1P-N-20A)Hager/legrand | pcs | 42 |  | 0
4 | Circuit breakers | MCB(1P-N-25A)Hager/legrand | Pcs | 24 |  | 0
5 | Circuit breakers | MCB(3P-N-25A)Hager/legrand | Pcs | 10 |  | 0
7 | Circuit breakers | MCB(3P-N-32A)Hager/legrand | pcs | 19 |  | 0
8 | Circuit breakers | RCCB(1P-20A,30mA)Hager/legrand | pcs | 4 |  | 0
9 | Circuit breakers | RCCB(1P-25A,30mA)Hager/legrand | pcs | 4 |  | 0
10 | Circuit breakers | RCCB(3P-20A,30mA)Hager/legrand | pcs | 4 |  | 0
11 | Circuit breakers | RCCB(3P-25A,30mA)Hager/legrand | pcs | 4 |  | 0
12 | Circuit breakers | RCCB(1P-32A,30mA)Hager/legrand | pcs | 8 |  | 0
13 | Circuit breakers | RCCB(3P-32A,30mA)Hager/legrand | pcs | 10 |  | 0
14 | Circuit breakers | MCB(3P-N-40A)Hager/legrand | pcs | 22 |  | 0
15 | Circuit breakers | RCCB(1P-40A,30mA)Hager/legrand | pcs | 7 |  | 0
16 | Circuit breakers | RCCB(3P-40A,30mA)Hager/legrand | pcs | 25 |  | 0
17 | Circuit breakers | MCB(1P-N-63A)Hager/legrand | pcs | 5 |  | 0
18 | Circuit breakers | RCCB(3P-63A,30mA)Hager/legrand | pcs | 4 |  | 0
19 | Circuit breakers | MCCB(3P-N-63A)Hager/legrand | pcs | 18 |  | 0
20 | Circuit breakers | MCCB(3P-N-80A)Hager/legrand | pcs | 2 |  | 0
21 | Circuit breakers | MCCB(3P-N-100A)Hager/legrand | pcs | 2 |  | 0
22 | Circuit breakers | MCCB(3P-N-125A)Hager/legrand | pcs | 2 |  | 0
23 | Circuit breakers | MCCB(3P-N-250A)Hager/legrand | pcs | 2 |  | 0
24 | Surge protective device | 10-20kA | pcs | 25 |  | 0
25 | Lightning rod | ingesco, min radius 100m | pcs | 1 |  | 0
26 | Earthing rods | pure copper,1.5m | pcs | 18 |  | 0
27 | Earthing accessories | Charcools,Salts, earthing pouder,… | Item | 1 |  | 0
Total protection material |  |  |  | 687 |  | 0
0
2. MAIN DISTRIBUTION BOARDS WITH ALL ACCESSORIES
1 | Main Distribution Board(MDB) | 500A Adjustable TPN MCCB, metallic main distribution board(MDB) Complete with rails,bus bars,50KVAR power capacitor bank, 50KA surge arrester,voltage and current display for each phase,lamp indicators,,circuit breakers: Incoming:500ATPN, Outgoings:1MCCB(3-P,250A),2MCCB(3-P,100A),4MCCB(3-P,63A),4MCB(3-P,63A),5MCB(1-P,32A),17MCB(1-P,10A) | Pcs | 1 |  | 0
2 | Sub-Main Distribution Board1(SMDB1) | 400A Adjustable TPN MCCB, metallic main distribution board(MDB) Complete with rails,bus bars, 25KA surge arrester,voltage and current display for each phase,lamp indicators,,circuit breakers: Incoming:400ATPN, Outgoings:1MCCB(3-P,250A),16MCB(3-P,63A),2MCB(3-P,40A) | Pcs | 1 |  | 0
3 | Sub-Main Distribution Board2(SMDB2) | 250A Adjustable TPN MCCB, metallic main distribution board(MDB) Complete with rails,bus bars, 25KA surge arrester,voltage and current display for each phase,lamp indicators,,circuit breakers: Incoming:250ATPN, Outgoings:3MCCB(3-P,63A),5MCB(3-P,63A),13MCB(3-P,40A) | Pcs | 1 |  | 0
Total DB with accessories |  |  |  | 3 |  | 0
NOTICE: Please Refer to the attached document contains power distribution board design and its details in excel sheet
3.GENERATOR AND AUTOMATIC TRANSFER SWITCH
2.1 | Generator and Automatic Transfer Switch(ATS) | Supply of 315 KVA. standby Rated generator set c/w the features outlined in the particular specifications, with 1000 ATS, battery, charger, tool kit, control Cable for Generator , 500 liter daily tank & 4m3 storage tanks,critical silencer, steel vibration absorption & all other accessories as per the specification.price include the fuel piping, manual pump and electrical pump, valves , accessories with its control panel,leakage sensor , and all wiring | pcs | 1 |  | 0
2.2 | GSM Module | GSM module for monitoring and sending of status reports and fault conditions of the generator set via text and email to a pre programmed email and phone number. | pcs | 1 |  | 0
Total Generetor with automatic transfer switch | [5 empty] | 0
Note: 1.Complies international codes(IEC,NFPA) 2.Preferable BRAND: Caterpillar - EU MAN /AVK - EU Cummins - EU or Equivalent.
V. WALL PIPING MATERIALS
1 | Pvc Pipes | 25mmØ | pcs | 3500 |  | 0
2 | Pvc couplers | 25mmØ | pcs | 300 |  | 0
3 | Pvc bends | 25mmØ | pcs | 300 |  | 0
4 | Pvc pipes | 32mmØ | pcs | 120 |  | 0
5 | Pvc couplers | 32mmØ | pcs | 70 |  | 0
6 | Pvc bends | 32mmØ | pcs | 140 |  | 0
7 | Pvc T-Couplers | 32mmØ | pcs | 75 |  | 0
8 | Flexible pipes | 20mmØ | Rolls | 20 |  | 0
9 | Flexible pipes | 25mmØ | Rolls | 30 |  | 0
10 | Flexible pipes | 32mmØ | Rolls | 5 |  | 0
11 | Flexible pipes | 100mmØ | m | 400 |  | 0
12 | Drainage pipes | PPR3/4 | pcs | 80 |  | 0
13 | PPR couplers | PPR3/4 | pcs | 70 |  | 0
14 | PPR bends | PPR3/4 | pcs | 150 |  | 0
15 | PPR T-couplers | PPR3/4 | pcs | 65 |  | 0
16 | Recessed boxes | Double(Plastic ) | pcs | 500 |  | 0
17 | Recessed boxes | Single (Plastic ) | pcs | 750 |  | 0
18 | Junction boxes | 6"*4"*2.5" | Pcs | 80 |  | 0
19 | Water proof junction boxes | 6"*4"*2.5" | pcs | 50 |  | 0
20 | Electrical tapes | Veto | pcs | 80 |  | 0
21 | Cole tangite |  | kg | 10 |  | 0
22 | Nails | 6&8 | kg | 120 |  | 0
23 | Main Distribution board | 48 modules,metallic,veto | pcs | 6 |  | 0
24 | Main Distribution board | 36 modules,metallic,veto | pcs | 16 |  | 0
25 | Main Distribution board | 24 modules,metallic,veto | pcs | 4 |  | 0
26 | Main Distribution board | 16 modules,metallic,veto | pcs | 4 |  | 0
Total electrical piping | [5 empty] | 0
VI. WIRING MATERIALS
1 | Pvc Pipes | 25mmØ | pcs | 6500 |  | 0
2 | Pvc couplers | 25mmØ | pcs | 700 |  | 0
3 | Pvc bends | 25mmØ | pcs | 500 |  | 0
4 | Pvc T-couplers | 25mmØ | pcs | 650 |  | 0
5 | Flexible pipes | 20mmØ | Rolls | 25 |  | 0
6 | Flexible pipes | 25mmØ | Rolls | 65 |  | 0
7 | Flexible pipes | 32mmØ | Rolls | 15 |  | 0
8 | Electrical tapes | Veto | pcs | 500 |  | 0
Materials without wire&cables | [5 empty] | 0
9 | Red wire(VOB) | 2.5sqm | rolls(100m) | 75 |  | 0
10 | Blue wire(VOB) | 2.5sqm | rolls(100m) | 75 |  | 0
11 | Yellow/ Green wire(VOB) | 2.5sqm | rolls(100m) | 75 |  | 0
12 | Red wire(VOB) | 1.5sqm | rolls(100m) | 70 |  | 0
13 | Blue wire(VOB) | 1.5sqm | rolls(100m) | 90 |  | 0
14 | Yellow/ Green wire(VOB) | 1.5sqm | rolls(100m) | 50 |  | 0
15 | Black wire(VOB) | 1.5sqm | rolls(100m) | 83 |  | 0
16 | Cable of supply for Cooker and water heaters power sockets and heavy machines | 3*4sqm | rolls(100m) | 25 |  | 0
17 | Cable of supply for outdoor lightings | 3*2.5sqm | rolls(100m) | 55 |  | 0
18 | Cable of supply for power sockets and pumping machines | 3*6sqm | rolls(100m) | 45 |  | 0
20 | Cable of supply for lightings garden and fences | 3*2.5sqm | rolls(100m) | 55 |  | 0
21 | Supply of cable (from Transformer to MDB) | [4X(1X240sqm)] | m | 340 |  | 0
22 | Cable of supply from MDB to AC sub-DB | 4*95sqm | m | 80 |  | 0
23 | Cable of supply from MDB to sub-DBs | 4*16sqm | m | 1100 |  | 0
24 | Cable of supply from MDB to sub-DBs | 4*25sqm | m | 230 |  | 0
25 | Cable of supply from MDB to Elevator | 4*16sqm | m | 70 |  | 0
26 | Earthing wire from MDB to Sub-DBs | 1*10sqm | m | 450 |  | 0
27 | Earthing wire to ground | 1*50sqm | m | 250 |  | 0
| Wiresand cables |  |  |  |  | 0
28 | Cable trays with all accessories | alminium,300*100 mm | m | 650 |  | 0
Total wiring | [5 empty] | 0
II. SECURITY CAMERAS, INTERNET,TELEPHONS,TVs,FIRE ALARM AND AIR CONDITIONING SYSTEMS
NO | ITEM | SPECIFICATION | UNITY | QUANTITY
I. SECURITY CAMERAS SYSTEM
1 | Cameras cable(pure copper) | CAT 7 SFTP MINI PRO or SIMON | rolls(305m) | 7 |  | 0
2 | Indoor IP cameras | Hik vision,6MP,Colored, | pcs | 12 |  | 0
3 | Outdoor IP cameras | Hik vision,6MP,Colored | pcs | 10 |  | 0
4 | Network Video Recoder(NVR) | Hik vision, 32 chanels with 4 ports of Hard Disk | pcs | 1 |  | 0
5 | Hard disk | WD Surveillance 10 TB | pcs | 4 |  | 0
6 | Gig bit POE Switch | Cisco meraki 24 ports | pcs | 2 |  | 0
7 | Gig bit POE Switch | Cisco meraki 8 ports | pcs | 6 |  | 0
8 | Gig bit POE Switch | Cisco meraki 4ports | pcs | 5 |  | 0
9 | Patch panels | CAT 7 SFTP ,24ports | pcs | 8 |  | 0
11 | Patch codes | CAT 7 SFTP,2m | pcs | 100 |  | 0
12 | Uninterraptable power supply(UPS) | 10KVA, APC | pcs | 1 |  | 0
13 | RJ45 | CAT 7 | pcs | 300 |  | 0
14 | Fiber optic cable | multimode 4cores | m | 400 |  | 0
15 | SFP MODULES | Multimode 10Gib/sec | PCS | 15 |  | 0
16 | ODF | 16 ports rack mountable | PCS | 15 |  | 0
17 | Fiber patch codes | Multimode 3M | PCS | 30 |  | 0
18 | PDU | 6Ports | pcs | 12 |  | 0
19 | Smart monitor screen with support | 55Inch ultra HD | pcs | 1 |  | 0
20 | Cable trunking | 100*50mm,legrand | pcs | 25 |  | 0
21 | Screws & wall plugs | M10,Metalic | Boxes | 5 |  | 0
22 | Screws & wall plugs | M8 | Boxes | 10 |  | 0
23 | Cable ties | 300mm | Boxes | 10 |  | 0
24 | Water proof cameras junction boxes | circle | pcs | 25 |  | 0
Total security camera system | [5 empty] | 0
0
II. INTERNET NETWORK & TELEPHONES AND TVs SYSTEM
0
1 | Network cable(pure copper) | CAT 7 SFTP MINI PRO or SIMON | rolls(305m) | 12 |  | 0
2 | Wireless Access Point | UNIFI, U6 PRO | pcs | 20 |  | 0
3 | Data sockets(Double) | CAT 7 SFTP, Legrand encastle | pcs | 55 |  | 0
4 | Gig bit POE Switch | Cisco meraki 48 ports | pcs | 2 |  | 0
5 | Gig bit POE Switch | Cisco meraki 16ports | pcs | 6 |  | 0
6 | Patch panels | CAT 7 SFTP ,48ports | pcs | 2 |  | 0
7 | Patch panels | CAT 7 SFTP ,16ports | pcs | 6 |  | 0
8 | Patch codes | CAT 7 SFTP | pcs | 200 |  | 0
9 | RJ45 | CAT 7 | pcs | 400 |  | 0
10 | RACK | 18U Floor standing | pcs | 2 |  | 0
11 | RACK | 4U wall mounting | pcs | 8 |  | 0
12 | Firewall | Cisco meraki | pcs | 1 |  | 0
13 | Coaxial cable | singe core TV cable, RG-11, Diameter 10.3mm | rolls(100m) | 20 |  | 0
14 | TV Sockets | double ports RG-11 | pcs | 20 |  | 0
15 | TV cable splitter | 16 ways,5-1000MHZ | pcs | 6 |  | 0
16 | TV cable connectors | male and female,RG-11 | pcs | 300 |  | 0
17 | Fixed IP Telephones | Grand steam | pcs | 20 |  | 0
18 | Grand stream IP -PBX | IP,Min 20 Telephone ports | pcs | 1 |  | 0
| TOTAL INTERNET NETWORK & TELEPHONES AND TVs SYSTEM |  |  |  |  | 0
IV. FIRE DETECTION AND ALARM & FIRE SAFETY SIGNS SYSTEM
1 | Smoke detectors | Eaton cooper, Addressable | pcs | 80 |  | 0
2 | Heat detectors | Eaton cooper, Addressable | pcs | 20 |  | 0
3 | Manual call points | Eaton cooper, Addressable | pcs | 10 |  | 0
4 | Sirens | Eaton cooper, Addressable | pcs | 10 |  | 0
5 | Fire alarm cable | 2*2.5sqm | rolls(100m) | 100 |  | 0
6 | Reapeters | Eaton cooper, Addressable | pcs | 5 |  | 0
7 | Fire detection and alarm control panel | Eaton cooper, min 6 loops, addressable | pcs | 1 |  | 0
TOTAL FIRE DETECTION AND ALARM & FIRE SAFETY SIGNS SYSTEM | [5 empty] | 0
V.AIR CONDITIONING SYSTEM
1 | AC unit for rooms Split type AC unit, Cooling only, Cooling capacity 18,000 BTU/hr, Refrigerant gas type R410a branded LG or sumsung or midia | 18000BTU | PCS | 40 |  | 0
2 | AC unit for rooms Split type AC unit, Cooling only, Cooling capacity 24,000 BTU/hr, Refrigerant gas type R410a branded LG or sumsung or Midia | 24,000BTU | PCS | 16 |  | 0
TOTAL AIR CONDITIONING SYSTEM | [5 empty] | 0
Refrigerant Pipe work: Copper pipe for liquid and gas
3 | Copper pipes | 5/8" | Lm | 800 |  | 0
4 | Copper pipes | 1/2" | Lm | 1800 |  | 0
5 | Copper pipes | 3/8" | Lm | 800 |  | 0
6 | Copper pipes | 1/4" | Lm | 1800 |  | 0
nitrile rubber insulation complete with hangers and supports ARMAFLEX
7 | Armaflex | 5/8" | pcs | 450 |  | 0
8 | Armaflex | 1/2" | pcs | 1000 |  | 0
9 | Armaflex | 3/8" | pcs | 450 |  | 0
10 | Armaflex | 1/4" | pcs | 1000 |  | 0
11 | Elbows
12 | Elbow | 5/8" | pcs | 70 |  | 0
13 | Elbow | 1/2" | pcs | 120 |  | 0
14 | Elbow | 3/8" | pcs | 70 |  | 0
15 | Elbow | 1/4" | pcs | 120 |  | 0
sockets(couplers)
16 | socket | 5/8" | pcs | 50 |  | 0
17 | socket | 1/2" | pcs | 90 |  | 0
18 | socket | 3/8" | pcs | 50 |  | 0
19 | socket | 1/4" | pcs | 90 |  | 0
20 | Tapes |  | pcs | 700 |  | 0
21 | Supplying cables | 4*25sqm | Lm | 200 |  | 0
22 | Communication cables | 3*2.5sqm | Lm | 700 |  | 0
23 | Map gas |  | pcs | 100 |  | 0
24 | Baguettes |  | pcs | 1000 |  | 0
25 | Drainage Water pump |  | pcs | 56 |  | 0
26 | Cable Trunking | PVC,80mm*40mm | pcs | 54 |  | 0
27 | Cheville and screws | 24" | Boxes | 150 |  | 0
28 | Cheville and screws | 12'' | Boxes | 150 |  | 0
29 | Cable ties | 12'' | Boxes | 60 |  | 0
30 | Outdoors supports |  | pcs | 56 |  | 0
31 | Refrigerants | R410A | bottles(13kg) | 25 |  | 0
32 | Drainage pipes | 20mm dia. PVC pipe | pcs | 600 |  | 0
33 | Drainage pipes | 32mm dia. PVC pipe | pcs | 1000 |  | 0
34 | Circuit breakers | 25A | pcs | 56 |  | 0
35 | Isolators for each outdoor | 80A | pcs | 7 |  | 0
36 | AVS(Automatic Voltage Stabilizer) | 20-32A,230V | PCS | 56 |  | 0
| TOTAL Refrigerant Pipe: Copper pipe for liquid and gas |  |  |  |  | 0
| LABOR Aircondition |  | pces | 56 |  | 0
Transformer
1 | Supply and install 315KvA transformer with its accessories |  | pces | 1 |  | 0
Toatal mMEP

## plumbing materials
Plumbing Materials
NO | Item Description | UOM | QTY | U.P | Total(FRW)
1 | Bue pipeline (Feaces) 110mm | pcs | 9 |  | 0
2 | Colee tangit | kg | 10 |  | 0
3 | Tee-y 110mm | pcs | 25 |  | 0
4 | Tee-axis 110mm | pcs | 6 |  | 0
5 | Tee 110mm | pcs | 6 |  | 0
6 | Reducers 110x90mm | pcs | 7 |  | 0
7 | Elbows 110mm | pcs | 80 |  | 0
8 | Red pipline (Kitchen) 90mm | m | 60 |  | 0
9 | Tee 90mm | pcs | 20 |  | 0
10 | Tee-y 90mm | pcs | 10 |  | 0
11 | Tee-axis 90mm | pcs | 0 |  | 0
12 | Reducers 90x63mm | pcs | 40 |  | 0
13 | Elbows 90mm | pcs | 20 |  | 0
14 | Bends 90mm | pcs | 17 |  | 0
15 | Green pipline 63mm | pcs | 12 |  | 0
16 | Tee-y 63mm | pcs | 5 |  | 0
17 | Tee-axis 63mm | pcs | 0 |  | 0
18 | Elbows 63mm | pcs | 100 |  | 0
19 | Bends 63mm | pcs | 150 |  | 0
20 | MULTI-LAYER PIPE/16 | m | 1400 |  | 0
21 | Tee LAYER PIPE/16 | Psc | 350 |  | 0
22 | TEE ADPTER MULTI LAYER PIPE/16 | Psc | 100 |  | 0
23 | Elbows MULTI LAYER PIPE/16 | Psc | 312 |  | 0
24 | Elbows adpter MULTILAYER PIPE/16 | Psc | 195 |  | 0
25 | Elbow mixer | Psc | 155 |  | 0
26 | Manchos MULTILAYER PIPE/16 | Psc | 250 |  | 0
27 | Manchos adapter MULTILAYER PIPE/16 | Psc | 360 |  | 0
28 | VALVE MULTILAYER PIPE/16 | Psc | 104 |  | 0
29 | Teflon tap | Psc | 420 |  | 0
30 | Bue pipeline (Cold water) GI 50mm | Psc | 12 |  | 0
31 | Bue pipeline (Cold water) GI32mm | Psc | 10 |  | 0
32 | TEE GI 50mm | Psc | 10 |  | 0
33 | ELBOW GI 50mm | Psc | 30 |  | 0
34 | SOCKET 50mm | Psc | 20 |  | 0
35 | UNION GI 50mm | Psc | 15 |  | 0
36 | NIPLE GI 50mm | Psc | 26 |  | 0
37 | VALVE GI 50mm | Psc | 7 |  | 0
38 | TEE GI 32mm | Psc | 30 |  | 0
39 | ELBOW GI 32mm | Psc | 40 |  | 0
40 | SOCKET 32mm | Psc | 35 |  | 0
41 | UNION GI 32mm | Psc | 30 |  | 0
42 | NIPLE GI 32mm | Psc | 60 |  | 0
43 | VALVE GI32mm | Psc | 20 |  | 0
44 | REDUCTIONGI 32/50mm | Psc | 6 |  | 0
45 | TEFLON | Psc | 300 |  | 0
46 | PPR PIPE1' | PSC | 60
47 | TEE PP1' | PSC | 40
48 | ELBOW 1' | PSC | 40
49 | UNION ADPTER1' | PSC | 40
50 | VALVE UNION1' | PSC | 15
51 | REDUCER 3/4 1' | PSC | 20
52 | MANCHON ADPT1' | PSC | 30
53 | NO RETUN | PSC | 30
54 | TEE GI 3/4 | PSC | 30
55 | NIPLE 3/4 | PSC | 100
56 | FILTER 3/4 | PSC | 14
57 | UNION ADPTER 3/4 | PSC | 60
58 | Manhole cover 80cmx80cm/plastic | pcs | 36
|  |  | TOTAL AMOUNT |  | 0

## SanitarieWater and firefighting
Sanitaries and Fire fighting
Plumbing (Supply) |  |  | U | QTY | UP | TP
4.1 | WC (pittrap) |  |  | 52 |  | 0
4.2 | Wall mounted double flash - white - 40x70x40cm |  | NO. | 52 |  | 0
4.3 | Urinoir |  | NO. | 1 |  | 0
4.4 | Wash Bassins |  |  |  |  | 0
4.5 | wall mounted - white -60x45x90cm |  | NO. | 52 |  | 0
4.6 | Shower |  |  |  |  | 0
4.7 | Shower set -stainless steel - matte Grey |  | NO. | 52 |  | 0
4.8 | Shower set -stainless steel -matte black |  | NO. | 52 |  | 0
4.9 | Bathtube |  | NO. | 12 |  | 0
5 | Laminated glass door+stainless steel enclosure - 175x210cm |  | NO. | 13 |  | 0
5.1 | Laminated glass door+stainless steel enclosure -130x210cm |  | NO. | 23 |  | 0
5.2 | Washing Basin accessories |  |  |  |  | 0
5.3 | Mirror - Round - 60cm radius - side LED light |  | NO. | 52 |  | 0
5.4 | Soap holder - wall mounted |  | NO. | 52 |  | 0
5.5 | Towel ring - wall mounted |  | NO. | 52 |  | 0
5.6 | Glass holder - wall mounte |  | NO. | 52 |  | 0
5.7 | Angle valve simple |  | NO. | 60 |  | 0
5.8 | Toilet accessories |  |  |  |  | 0
5.9 | Toilet paper holder |  | NO. | 52 |  | 0
6 | Toilet brush holder |  | NO. | 52 |  | 0
6.1 | Shut Off |  | NO. | 52 |  | 0
6.2 | Angle Valve Double |  | NO. | 52 |  | 0
6.3 | BathTubes |  | NO. | 12 |  | 0
6.4 | FLOOR DRAIN |  | NO. | 52 |  | 0
6.5 | WATER HEATER | 50 L ALSTO MARK | NO. | 21 |  | 0
6.6 | SHOWER CABINET |  |  | 34 |  | 0
6.7 | WATER TANK 3000L |  | NO. | 13 |  | 0
Total sanitaries | [5 empty] | 0
6.8 | FIRE EXTANGUISHER | POWDER | NO. | 13 |  | 0
6.9 | FIRE HORSE REAL | 1 POUCE 30 METER | NO. | 7 |  | 0
7 | FIRE HYDRANT | 2 OUTLET AND FIXE ON THE G | NO. | 2 |  | 0
7.1 | WATER PUM | PEDROLLO /1.1kw/40m | NO. | 15 |  | 0
7.2 | FIRE FITHING PUMP | BAR 8/GPM 250 DIESEL AND ELECTRICITY | NO. | 1 |  | 0
7.3 | EMERGENCY EXIT |  | NO. | 30 |  | 0
7.4 | ASSAMBIE POINT |  | NO. | 2 |  | 0
7.5 | PVC PIPE ᶲ110 |  | PSC | 9 |  | 0
7.6 | Glue |  | KG | 10 |  | 0
7.7 | Reducers PVC PN6 100mm/90mm |  | PC | 7 |  | 0
7.8 | Reducers PVC PN6 90mm/63mm |  | PC | 40 |  | 0
7.9 | PPR PIPE1' |  | PC | 60 |  | 0
8 | TEE PP1' |  | PC | 40 |  | 0
8.1 | ELBOW 1' |  | PC | 40 |  | 0
8.2 | UNION ADPTER1' |  | PC | 40 |  | 0
8.3 | VALVE UNION1' |  | PC | 15 |  | 0
8.4 | REDUCER 3/4 1' |  | PC | 20 |  | 0
8.5 | MANCHON ADPT1' |  | PC | 30 |  | 0
8.6 | NO RETUN |  | PC | 30 |  | 0
8.7 | Elbows PVC PN6 63mm dia |  | PC | 100 |  | 0
8.8 | TEE GI 3/4 |  | PC | 30 |  | 0
8.9 | NIPLE 3/4 |  | PC | 100 |  | 0
9 | FILTER 3/4 |  | PC | 14 |  | 0
9.1 | UNION ADPTER 3/4 |  | PC | 60 |  | 0
9.2 | PVC ELBOW ᶲ 63 |  | PC | 100 |  | 0
9.3 | PVC PIPE ᶲ110 |  | PC | 9 |  | 0
9.4 | Bends PVC PN6 63mmdia |  | PC | 150 |  | 0
9.5 | MULTI-LAYER PIPE/ 16mm dia / Normal |  | m | 1400 |  | 0
9.6 | TEE Multilayer 16mm dia / Normal |  | PC | 1400 |  | 0
9.7 | TEE ADPTER Multilayer 16mm dia / Normal |  | PC | 100 |  | 0
9.8 | ELBOW 16MM MULT |  | PC | 312 |  | 0
9.9 | ELBOW ADAPTER Multilayer 16mm dia / Normal |  | PC | 195 |  | 0
10 | MANCHOS 16MMM MULTI |  | PC | 250 |  | 0
10.1 | MANCHOS ADAPTER Multilayer 16mm dia / Normal |  | PC | 20 |  | 0
10.2 | VALVE Multilayer 16mm dia / Normal |  | PC | 30 |  | 0
10.3 | Elbows mixer addapter 16mm |  | PC | 40 |  | 0
10.4 | Pipes Multi-layer 20mm |  | m | 400 |  | 0
10.5 | Tee multilayer 20mm dia / Normal |  | PC | 50 |  | 0
10.6 | Elbows multi-layer 20mm dia /normal |  | PC | 50 |  | 0
10.7 | VALVE Multilayer 20mm dia / Normal |  | PC | 20 |  | 0
10.8 | Reducers 20/16mm |  | PC | 40 |  | 0
10.9 | Socket addapter 20mm/ 3/4 |  | PC | 40 |  | 0
11 | TEFLON TAP |  | PC | 420 |  | 0
11.1 | Bue pipeline (Cold water) GI 40mm dia |  | PC | 12 |  | 0
11.2 | Bue pipeline (Cold water) GI 32mm |  | PC | 10 |  | 0
11.3 | TEE GI 50mm dia |  | PC | 10 |  | 0
11.4 | ELBOW GI 40mm |  | PC | 30 |  | 0
11.5 | SOCKET GI 40mm |  | PC | 20 |  | 0
11.6 | UNION GI 40mm |  | PC | 15 |  | 0
11.7 | NIPLE GI 40mm |  | PC | 26 |  | 0
11.8 | VALVE GI40mm |  | PC | 7 |  | 0
11.9 | TEE GI 32mm |  | PC | 30 |  | 0
12 | ELBOW GI 32mm |  | PC | 40 |  | 0
12.1 | SOCKET GI 32mm |  | PC | 35 |  | 0
12.2 | UNION GI 32mm |  | PC | 30 |  | 0
12.3 | NIPLE GI 32mm |  | PC | 60 |  | 0
12.4 | VALVE GI32mm |  | PC | 20 |  | 0
12.5 | REDUCTION GI 32/40mm |  | PC | 6 |  | 0
12.6 | plug Gi 3/4 |  | PC | 30 |  | 0
12.7 | plug Gi 1/2 |  | PC | 200 |  | 0
12.8
12.9
Total water supply and fire fighting | [5 empty] | 0

## cutting and replastering
CUTTING ALL PIPE CHANELS AND FIXING PIPES, BOXES&PLASTERING(AC, ELECTRICAL)
| CUTTING ALL PIPE CHANELS AND FIXING PIPES, BOXES&PLASTERING(AC, ELECTRICAL) | QUANTITIES | UNITY PRICE | TOT.PRICE
1 | DISK (pces) | 178 |  | 0
2 | CIMENTS (bags) | 27 |  | 0
3 | SAND | 1 |  | 0
4 | JUNCTION TAPES(pces) | 49 |  | 0
5 | LABOR (LM) | 23000 |  | 0
| TOTAL |  |  | 0

## civil works and external works
WORK TO BE DONE IN SERVICE HOUSE
No | ACTIVITIES | AREA | QUANTITIES | U/P | AMOUNT
1 | SHATTERING(LINTEL) | M2 | 5.572 |  | 0
2 | STEEL WORK LABOURES | KG | 130.89 |  | 0
3 | CONCRETE C 25 | M3 | 0.665 |  | 0
4 | WALLING 200mm thick | M2 | 15.28 |  | 0
5 | PLASTERING | M2 | 38.332 |  | 0
6 | PLASTERING OFCOLUMNS&BEAM | M2 | 47.62 |  | 0
0
GRAND TOTAL
WORK TO BE DONE IN THE FENCE( WALLING &PLASTERING)
No | ACTIVITIES | Unit | QUANTITIES | U/P | AMOUNT
1 | Plastering | m2 | 215.872 | 0 | 0
2 | Copping 60*40mm | L M | 41.07 |  | 0
| GRAND TOTAL |  |  |  | 0
BEAM IN THE PARKING & SWIMMING POOL
No | ACTIVITIES | AREA | QUANTITIES | U/P | AMOUNT
1 | SHATTERING | m2 | 216 | 0 | 0
2 | STEEL WORK LABOURES | KG | 760.06 | 0 | 0
3 | CONCRETE C 30 | CM | 67.304 |  | 0
5 | PLASTERING | CM | 144.3 | 0 | 0
| GRAND TOTAL |  |  |  | 0
CONSTRUCTION OF KERBS
No | ACTIVITIES | N.OF KERBS | AREA | U/P | AMOUNT
1 | SERVICE HOUSE | 52 | 2.6 |  | 0
2 | PARKING | 58 | 2.9 |  | 0
3 | AROUND SWIMMING POOL | 76 | 3.8 |  | 0
0
CONSTRUCTION OF PARPET WALL& INSIDE WALLS& SIROUNDING WALL AROUND THE TOP ROOF
No | ACTIVITIES | AREA | U/P | AMOUNT
1 | WALLING(BLOCK) | 148.301
PLASTERING
No | ACTIVITIES | AREA | U/P | AMOUNT
| WALL(BLOCK &BURNT BRICK) | 308.977 |  | 0
| GRAND TOTAL |  |  | 0
CONSTRUCTION OF DUCTS(WALLING BURN BRICK)
No | ACTIVITIES | AREA | U/P | AMOUNT
1 | CONSTUCTION OF DUCTS | 508.702 | 0 | 0
| PLASTERING OF DUCTS | 761.4 | 0 | 0
0
SITE CLEANING
No | ACTIVITIES | AREA | U/P | AMOUNT
1 | SITE CLEANING AND LEVELLING | 1 |  | 0
0